GSOC 2014: Vector Network Analyzer (VNA)

[Mitul Vekariya](https://github.com/mitul93)

[vekariya93@gmail.com](mailto:vekariya93@gmail.com)

[10bec062@nirmauni.ac.in](mailto:10bec062@nirmauni.ac.in)

Contents

[Abbreviation 3](#_Toc382514208)

[Introduction 4](#_Toc382514209)

[Working principle of VNA 4](#_Toc382514210)

[Source 4](#_Toc382514211)

[Detector 4](#_Toc382514212)

[Analyzer module 4](#_Toc382514213)

[GNU Radio and USRP 5](#_Toc382514214)

[Work during GSOC 14 5](#_Toc382514215)

[Device setup 5](#_Toc382514216)

[Magnitude and Phase measurement Block 6](#_Toc382514217)

[Calibration Block 6](#_Toc382514218)

[Dynamic range improvement Block 6](#_Toc382514219)

[Display Block 6](#_Toc382514220)

[Future scope 7](#_Toc382514221)

[Deliverables 7](#_Toc382514222)

[Timeline 8](#_Toc382514223)

[Personal Background 8](#_Toc382514224)

[Conclusion 9](#_Toc382514225)

[Components required 9](#_Toc382514226)

[Reference 9](#_Toc382514227)

# Abbreviation

DUT Device Under Test

FFT Fast Fourier Transform

IF Intermediate Frequency

LO Local Oscillator

MIMO Multiple Input Multiple Output

RF Radio Frequency

RX Receiver

SDR Software Defined Radio

SWR Standing Wave Ratio

TX Transmitter

UHD USRP Hardware Driver

USRP Universal Software Radio Peripheral

VNA Vector Network Analyzer

# Introduction

Vector Network Analyzer is useful instrument to characterize electrical network. At high frequency; it is not possible to monitor voltage and current to determine h or z parameters and if output of some two port device is short circuited to measure h or z parameter, then it may damage the device. Scattering parameters are measured at high frequency to overcome these limitations. VNA is useful in measurement of S-parameters. There are many novel application of s-parameter like measurement of reflection coefficient, input impedance and insertion loss to design matching network to ensure maximum transfer of RF power. This project aims to provide simple two port VNA suitable to characterize RF devices that operates between 70 MHz to 6 GHz. With few external RF components it is possible to design VNA using SDR. The heart of instrument lies in its software that will do signal processing, calibrate the device and display measurement on screen.

# Working principle of VNA

At high frequency, behavior of device is quite different. When a stimulus signal is applied to the device, some part of signal will travel through the device (transmitted signal) and some part will reflect back (reflected signal). VNA measures transmitted and reflected signal accurately. There are mainly three blocks of VNA i.e. source, detector and analyzer module.

## Source

A pure tone sinusoidal wave is generated by VNA. It generates the stimulus to the DUT. It may either frequency sweep or power sweep source [1]. This GSOC project focus on frequency sweep only. DUT should operate in minimum and maximum frequency range of source.

## Detector

Heterodyne receiver with mixer that down converts the RF frequency to fix IF frequency is will be used in this project. Harmonics associated with source are also down-converted, but they’ll be outside the passband of IF filter. A narrow band IF filter will reject the noise outside the passband of filter. This will improve the sensitivity and dynamic range of VNA. Other methods to improve dynamic range are explained in later part of the document.

## Analyzer module

The analyzer module receives the transmitted and reflected signal along with reference signal. It will detect the phase difference of incoming signal and reference signal. From this information scattering parameters are calculated [1]. It is possible to calculate return loss, SWR, reflection coefficient, impedance, insertion loss, transmission coefficient from S-parameters [2]. Discussion of which is out of the scope of this proposal.

The final arrangement will look like figure 1. Where A, B and R are reflected signal, transmitted signal and reference signal respectively. The power splitter splits the power in two branches – one of which will be given to DUT while another is used as reference signal. Transfer switch is used to automate the four S-parameter measurements [1]. It changes the direction of reflected and transmitted signal.




Figure Block diagram of VNA

# GNU Radio and USRP

GNU Radio is open source software which is based on dataflow model. It provides powerful modules for advance signal processing. USRP is good hardware solution for developing quick prototype of algorithms in hardware. Using gr\_uhd of GNU Radio; one can interface with USRP devices. For this project USRP B210 is suitable because it has wide frequency range from 70 MHz to 6 GHz which provides stable signal source for VNA, 2X2 MIMO capability and coherent detection of transmitted and received channel [3]. At least two receiving channel is needed for the design of VNA (explained later in this document)

# Work during GSOC 14

## Device setup

The actual implementation of VNA will be a little different from arrangement shown in fig 1. The VNA shown in fig 1 has three receiver channels, but USRP B210 has only two. A solution is depicted in fig 2. Using RF switch to choose between transmitted and reflected signal, simultaneous measurement of S11 and S21 is possible. As shown in fig 2 terminating DUT with matched load will guarantee that reflections from that port will be at its minimum. Similarly to get other two parameters - S22 and S12, simply interchange the connection of the device and repeat the measurement.




Figure Block diagram of proposed VNA using USRP

## Magnitude and Phase measurement Block

The main difference between spectrum analyzer and VNA is phase measurement. A signal processing block mag\_phase\_measurement will measure phase difference between transmitted/reflected signal and reference signal. As RX channel 1 is switched between reflected signal and transmitted signal, this block will interpret data coming from ADC accordingly. Using I and Q samples phase can be measured using archtan(Q/I) function. To cover frequency range from 70MHz to 6GHz, LO frequency must be sweep for signal generator (TX channel) and signal receiver (both RX channels). [**usrp\_spectrum\_sense.py**](https://github.com/gnuradio/gnuradio/blob/master/gr-uhd/examples/python/usrp_spectrum_sense.py) in gr\_uhd moduleprovides good understanding about frequency sweeping and IF bandwidth control. usrp\_sink\_impl**::**set\_center\_freq() function will be helpful to tune the frequency to cover desire frequency range.

## Calibration Block

There are several methods available to calibrate VNA like TRM, TRL, SOLT etc [4]. SOLT method is easy to perform and removes directivity error, source mismatch error and Tracking error [1]. A conventional way to perform measurement is to calibrate device first then connect DUT. Another way is to perform the test first, save data to a file and then perform calibration. Based on calibration result, user can calibrate the data stored in the file. So a python script **calibrate\_frm\_file.py** will be useful for this post measurement calibration.

## Dynamic range improvement Block

Dynamic range defines the difference of the maximum power a receiver can accurately measure and receiver noise floor. There are three ways to improve dynamic range of VNA: exponential averaging, reduction of IF bandwidth and increasing in input power [5]. Though there is a tradeoff between improving dynamic range and system speed. For this reason all three parameters will be user controllable. So as per the application requirement user can choose between measurement speed and dynamic range. Averaging has to be done on normalized vector data otherwise it won’t increase dynamic range and introduce phase error [5]. To calibrate the phase error a coaxial cable of good quality is used as a reference. It has linear phase change with frequency. So replacing it with DUT and measuring phase, calibration of phase can be performed [6].

## Display Block

GNU Radio does not have support for Smith Chart. Smith chart is useful to display S – parameters (S11, S12, S21 and S22), Input impedance, SWR and reflection coefficient. Along with smith chart it will display parameters like gain, insertion loss, return loss, Group delay etc. For this purpose [**freq\_sink\_c\_impl.cc**](https://github.com/gnuradio/gnuradio/blob/master/gr-qtgui/lib/freq_sink_c_impl.cc)will be useful as a reference. Code to plot smith chart using qt is available [here](http://sourceforge.net/p/qzplot/code/HEAD/tree/). Another way to plot graph is taking data from file like [**gr\_plot\_fft.py**](https://github.com/gnuradio/gnuradio/blob/master/gr-utils/python/utils/gr_plot_fft) does.

The final connections of blocks will look as below




Figure 3 connection between different blocks

# Future scope

The proposed project only measures two s-parameters at a time. To measure all four parameters, one has to disconnect the DUT and reverse the connection and perform the experiment. This can result in systematic errors. To achieve fully automatic measurement, two USRP B210 with switch and two directional couplers can be used as shown in fig 3. Now with four receiver channel simultaneous measurement all S parameters are possible [1].




Figure Block diagram of VNA with four ports

However this is not a part of gsoc project.

# Deliverables

There are mainly five blocks associated with gr\_vna: exp\_averaging, mag\_phase\_calculate, vna\_calibrate, s\_para\_calculate and smithchart\_sink. Each block mentioned before will have implementation file (C++ code) and a test file (python code). Apart from this applications written in python will come in handy when user want to analyze data saved in a file. Like [**hf\_explorer**](https://github.com/gnuradio/gnuradio/blob/master/gr-uhd/apps/hf_explorer/hfx.py)application under gr\_uhd, a final script usrp\_vna.py will be the end application of project that will provide user interface just like VNA for calibration, perform measurement, display data, save measurement data to file etc.

* **gr\_vna:** out of the tree module using gr\_modtool.
* **exp\_averaging\_vcc\_impl.cc (C++), qa\_exp\_averaging\_vcc.py (python):** performs exponential averaging on data, number of elements to average will be given by user
* **mag\_phase\_calculate\_cc\_imp.cc (C++), qa\_mag\_phase\_calculate\_cc.py (python):** signal processing block that detects phase difference between input and reference signal
* **vna\_calibration\_c\_imp.cc (C++), qa\_vna\_calibration\_c.py (python):** perform SOLT calibration and save data of calibration to the file
* **s\_para\_calculate\_cc\_impl.cc (C++), qa\_s\_para\_calculate.py (python):** calculate s parameters, calibration data feed as an input so output from this block will be calibrated output
* **smithchart\_sink\_c\_impl.cc (C++):** Qt based gui similar to plot\_fft to display data
* **usrp\_vna.py (python):** incorporates all the previous blocks and final application that calibrates and uses usrp as vna
* **calibrate\_frm\_file.py (python):** app to calibrate measurement data stored in file
* **plot\_smith\_chart.py, plot\_scatter\_para.py, plot\_insertion\_loss.py, plot\_impedance.py, plot\_swr.py (python):** apps for plotting smith chart, scattering parameter, insertion loss, impedance and swr respectively from data saved in files.
* Comparison of results with VNA available in college laboratory.
* Documentation and examples.

# Timeline

* **Before GSOC (21st April, 2014 to 18th May, 2014):** Get to know the mentor. Learn more about VNA – the theory behind the calibration, mathematical equations for it, familiarized with USRP B210 board and RF components, calibration the VNA available in lab
* **Week 1:** get hands on USRP B210. Practice couple of programs to familiarize with USRP board. Setup device as shown in figure 2
* **Week 2 & 3:** exponent averaging and magnitude and phase measurement block, Test files for the same
* **Week 4 to 6:** calibration of VNA block; preparing for midterm evaluation
* **Week 7 to 8:** block to calculate s-parameters with calibration algorithm
* **Week 9 to 11:** implementation of final script **-** usrp\_vna.py by integration of all blocks, methods to improve dynamic range
* **Week 12:** write utility programs to plot smith chart, s-parameters, insertion loss, impedance, swr etc. using data from file
* **Week 13:** perform test on various devices available, prepare documentation and comparison o**f** results with VNA available in university and prepare for final evaluation

# Personal Background

I am final year under graduate student of Electronics and Communication at Nirma University, India. It amazes me how VNA works – a single measurement device to solve many engineering problems. That and my interest in SDR and digital signal processing are my motivation to choose this project. I came across GNU Radio during my fifth semester when I was studying Digital communication systems. During my internship at National Instruments this year, I came across USRP platform. I learned a lot about NI’s USRP platform. It is simply amazing because developers can invest their time in implementation of actual algorithms. I am looking forward to work with Ettus research’s USRP device.

I got interest in open source programming after going through last year’s GSOC. For more than a year, I am engaged with open source programming. The support and contacts with some great people helped me to learn many new things. More than anything transparency in code due to open source helps people to understand core concepts behind any program. That’s why I am so interested in open source programming.

I have good experience of coding using C, C++, bash shell script and VHDL. During last semester, I have also designed portable ECG device using Beaglebone running angstrom OS, Linux device drivers and QT gui. So, I am comfortable with Linux environment and programming.

# Conclusion

VNA is considered as most delicate and useful device among RF engineers. This proposal shows the fundaments to design VNA out of SDR. With wide frequency span of USRP B210, advance calibration methods and methods to improve dynamic range – VNA made out of USRP can compete some VNA available in market. Besides that student will have chance to use VNA as well as continue to contribute in the field of software defined radio.

# Components required

* USRP B210 board
* Directional coupler
* Power splitter
* Co-axial cable
* Filter for testing
* Calibration kit

# Reference

1. [Agilent Network Analyzer Basics](1)%09http:/www2.ee.cityu.edu.hk/~sklmmw/apmtt/B2BJan14/day1/Agilent_VNA_AN_Basics_5965-7917E.PDF), August 31, 2004.
2. [Reflection coefficient transformation](http://www.ittc.ku.edu/~jstiles/723/handouts/The_Reflection_Coefficient_Transformation.pdf), January 26, 2005.
3. [USRP B210](https://www.ettus.com/product/details/UB210-KIT), Ettus Research.
4. [Vector Network Analzer calibration : The Basics](http://cas.web.cern.ch/cas/Denmark-2010/Caspers/RS0908-22VNAWhitePaperV2%20on%20VNA%20calibration%20methods%20CAS%202009%20and%20CAS2010.pdf), White Paper, Rohde and Schwarz,2008.
5. [Understanding and Improving VNA dynamic range](http://cp.literature.agilent.com/litweb/pdf/5980-2778EN.pdf), Application note 1363-1, Agilent
6. [A low cost 100 MHz Vector Network Analyzer with USB interface](https://www.google.co.in/url?sa=t&rct=j&q=&esrc=s&source=web&cd=1&cad=rja&uact=8&ved=0CDsQFjAA&url=http%3A%2F%2Fwww.tapr.org%2F~n5eg%2Findex_files%2Ffinal_QEX_mcdermott.pdf&ei=NsshU-beC43ikAWGuIG4Cg&usg=AFQjCNHVPkRGGAVZ9VYq_a6KlbDbARtiWg&bvm=bv.62922401,d.), Tom McDermott